## Slide 1
Analysis of H8 bent-crystal measurements
ANNA SOFIA MORO

## Slide 2: MY ANALYSIS
EXPERIMENTAL SETUP
silicon microstrip sensors
long crystal
DATA
2024 dataset for two long crystals
Taken at SPS-H8 test bench with 180 GeV beam (70% protons and 30% pions)

## Slide 3: THE ANALYSIS PIPELINE
METHOD
Analysis implemented in Python on RDataFrame (ROOT).
QUALITY FILTERS
Selecting single tracks, alignment check between the upstream and downstream telescope arms
CRYSTAL EDGES
Reconstruct the (x,y) spatial window illuminated by the crystal
(2 independent methods)
TORSION MAP
2D checkerboard grid analysis of the entrance face:
surface fit to obtain
LINDHARD CUT
Selecting particles entering within , corrected point-by-point for torsion
EFFICIENCY
and the full error budget (statistical and systematic errors)

## Slide 4: ANALYSIS: DETECTOR ALIGNMENT
PRELIMINARY ANALYSIS
QUALITY FILTERS
Selecting single tracks, alignment check between the upstream and downstream telescope arms
To ensure that the upstream and downstream detectors are aligned, we check the deviation of particles that did not hit the crystal.
We can also check the alignment by doing a linear fit between the upstream and dowstream profiles.

## Slide 5: ANALYSIS: CRYSTAL EDGES
PRELIMINARY ANALYSIS
CRYSTAL EDGES
Reconstruct the (x,y) spatial window illuminated by the crystal
(2 independent methods)
METHOD 1: CHANNELED PARTICLES
Isolate already channeled particles (only uses ~ 20% of data)
Their impact position (x, y) traces the crystal footprint
Use of a sliding window method, which maximize the number of particles inside
To project the downstream edges back upstream a shift is needed (due to the lateral geometric drift along the -axis)
METHOD 2: MULTIPLE COULOMB SCATTERING
Selected window
Notes: Results: the two methods agree on a width of 2 mm in x, in y the scattering method shows a narrower effective window due to the clamps, consistent with the torsion analysis, which already excludes the poorly-illuminated edges

## Slide 6: ANALYSIS: CRYSTAL EDGES
PRELIMINARY ANALYSIS
CRYSTAL EDGES
Reconstruct the (x,y) spatial window illuminated by the crystal
(2 independent methods)
METHOD 1: CHANNELED PARTICLES
METHOD 2: MULTIPLE COULOMB SCATTERING
Particles that physically crosses the crystal picks up extra Coulomb scattering, the ones outside the crystal do not
The width of the outgoing angular distribution is measured
A sharp transition marks the edges
INSIDE
OUTSIDE
Notes: Results: the two methods agree on a width of 2 mm in x, in y the scattering method shows a narrower effective window due to the clamps, consistent with the torsion analysis, which already excludes the poorly-illuminated edges

## Slide 7: ANALYSIS: MAPPING THE TORSION
PRELIMINARY ANALYSIS
TORSION MAP
2D checkerboard grid analysis of the entrance face:
surface fit to obtain
The torsion effect is not negligible in long crystals ()
The crystal is not perfectly rigid: the orientation of the crystalline planes rotates slightly across its surface
The optimal entry angle is therefore not unique, but varies point by point
Beam spot divided into a 0.1 mm (x,y) grid
RESULTS:
Torsion along the -axis:
Negligible torsion along the -axis:
Angular scan
for each cell
local
that maximize
efficiency
Surface fit
(parabolic)
to extract the
global
Notes: Influence the angular range in which particles enter
Influence the angular range in which particles enter
|𝜃_𝑥^𝑖𝑛−(𝜃_𝑥^𝑜𝑓𝑓+𝜏_𝑦⋅𝑑_𝑦+𝜏_𝑥⋅𝑑_𝑥 )|≤1/2 𝜃_𝐿

## Slide 8: CHANNELING EFFICIENCY
ANALYSIS
CHANNELING EFFICIENCY
Notes: By fitting only the right side of the peak, we ensured the cleanest possible measurement by excluding any contribution from dechanneled particles.

## Slide 9: CHANNELING EFFICIENCY: RESULTS
ANALYSIS
RUN 8430 (REFERENCE)
long crystal 1 |  | 
long crystal 2 |  | 
long crystal 1 |  | 
long crystal 2 |  | 
Chart: Channeling efficiency [%]
| run 8430 | run 8431 | run 8650 | run 8655 | run 8656
High | 19.8 | 19.4 | 17.3 | 18.2 | 18.2
Low | 19.4 | 19 | 16.9 | 17.8 | 17.8
Close | 19.6 | 19.2 | 17.1 | 18 | 18
crystal 1 crystal 2
anomalous run

## Slide 10: CHANNELING EFFICIENCY: RESULTS
ANALYSIS
Long crystal 1
Long crystal 2
ERROR BUDGET
Statistical error:
Binomial error
Fit errors
Systematic error:
Fit model choice
Binning choices

## Slide 11: CHANNELING EFFICIENCY: RESULTS
ANALYSIS
long crystal 1 |  | 
long crystal 2 |  | 
long crystal 1 |  | 
long crystal 2 |  | 
On article Bandiera et al. (2025):
It was found and efficiency of and a torsion of for the TCCP long crystal.
Instead our two crystals can reach a maximum efficiency of in some areas.

## Slide 12: WHAT’S NEXT: SIMULATION
NEXT STEPS
Set up a Geant4 simulation of the long crystals characterized in this analysis, reproducing the same geometry as the H8 setup.
Geant4/BDSIM:
  Xtrack along the beamline
  Geant4 only for elements where there is interaction with matter (collimator, crystals,…)
The actual data serve as a benchmark.
The simulation reproduces the “ideal” channeling physics, without torsion or other imperfections simulated efficiency is expected to be higher.
The gap between the simulation and the data serves as a quantitative measure of the impact of torsion and other non-idealities.

## Slide 13: BACKUP SLIDES

## Slide 14: SCHEMATIC LAYOUT
Station 1
z ~ -12.4 m
Station 2
z ~ -10.4 m
crystal
z = 0 m
Station 3
z ~ 0.5 m
Station 4
z ~ 4.7 m
Incoming arm vacuum pipe
Downstream arm vacuum pipe
Beam
direction
Beam: H8 secondary beamline off the SPS, driven by 400 GeV protons
Spectrometer selection 180 GeV hadrons (30% and 70% )
Trackers:
2 silicon microstrip sensors
639 strips, 98 mm length
with a ~ 7 um resolution
BACKUP SLIDE

## Slide 15: SCHEMATIC LAYOUT
BACKUP SLIDE

## Slide 16: TORSION FIT
The 2d map is fitted through a parabolic function:
Now we correct the effect of torsion using the parameter found for each bin:
instead of the Lindhard cut we will use
BACKUP SLIDE
Notes: This allowed us to apply a continuous torsion correction. So, instead of using a standard Lindhard cut centered at zero, we corrected the incoming angle using the fitted parameters found for each spatial bin.

## Slide 17: ANOMALOUS RUN 8650
Due to an issue, the run was taken at 150 GeV instead of 180 GeV.
Wider channeling peak
  More multiple scattering
Lower efficiency
  De-channeling more likely at lower energies
Larger critical Lindhard angle
BACKUP SLIDE

## Slide 18: ANGLE SELECTION
For each square bin:
variation of
select particles within
compute
select that maximizes (through gaussian fit)
cut
BACKUP SLIDE
Notes: If not considering any torsion correction: we would just calculate the channeling efficiency through several iterations varying until the highest efficiency is found, representing the best alignment of incoming particles with the crystalline planes
If not considering any torsion correction: we would just calculate the channeling efficiency through several iterations varying 𝜃_0 until the highest efficiency is found, representing the best alignment of incoming particles with the crystalline planes

## Slide 19: EFFICIENCY CURVE
Crystal efficiency as a function of the incoming angle, after application of the torsion correction. The value of the peak is the efficiency of the crystal when it is perfectly aligned to the beam.
BACKUP SLIDE
Notes: Applying this torsion correction significantly improves our analysis. When we plot the crystal efficiency as a function of the torsion-corrected incoming angle, the peak of this curve represents the efficiency of the crystal when it is perfectly aligned to the beam, which in this case reached 18.8%.